## IFB Bid Schedule Summary
Bid Schedule Summary | Total Bid
Fiber Cable
Single Jacket Loose Tube (all dielectric) Fiber | 0
Single Jacket Ribbon (all dielectric) Fiber | 0
Single Jacket Single Armor Loose Tube Fiber | 0
Single Jacket Single Armor Ribbon Fiber | 0
Micro Cable Loose Tube (all dielectric) Fiber | 0
Micro Cable Ribbon (all dielectric) Fiber | 0
Total Bid | 0

## Fiber Cable
Single Jacket Loose Tube (all dielectric) Fiber Requirements |  |  | Comply (Y/N)
| Application | Placement in conduits and/or overlash
| Location of Cable Assembly | Made in the USA
| Supplier or distributer office | In six county Los Angeles area
| Local stock | Must maintain local stock
| History of Supply | More than 25 Years
| Fiber Type | Single Mode - 250 micron
| Fiber Type | Zero Water Peak peferred
| Mode Field Diameter | 9.2 micron preferred
| Fiber Standards Compliance | ITU-T G.652D
| Fiber Standards Compliance | G.657A1 preferred
| Cable Standards Compliance | Telcordia GR-20-CORE
| Cable Standards Compliance | ANSI/ICEA S-87-640-2005
| Cable Standards Compliance | Able to provide test verification
| Cable Design | Single Jacket Loose Tube (Max 12 fibers per tube)
| Maximum Loss / kM @ 1310 nm | 0.35 dB / kM
| Polar Mode Dispersion (PMD) | Fiber PMD Link Design Value (LDV) 4 ≤ 0.04 ps/√km
| Polar Mode Dispersion (PMD) | Maximum Individual Fiber ≤ 0.1 ps/√km
| Polar Mode Dispersion (PMD) | Fiber LMC PMD ≤ 0.02 ps/√km
| Reel Size | 7 foot
| Single Jacket Loose Tube (all dielectric) Cable Sizes | Quantity, Feet | Manufacturer | Part Number | O.D. (inches) | Feet per Reel | Cost Per Foot | Total Cost | Lead Time
| 6 Fiber | 0
| 12 Fiber | 4210.2359
| 24 Fiber | 3779.4525
| 48 Fiber | 8215.4154
| 72 Fiber | 8889.0628
| 96 Fiber | 78218.8583
| 144 Fiber | 96062.4736
| 288 Fiber | 0
| Total | 199375.4985 |  |  |  |  | Total
Single Jacket Ribbon (all dielectric) Fiber Requirements |  |  | Comply (Y/N)
| Application | Placement in conduits and/or overlash
| Location of Cable Assembly | Made in the USA
| Supplier or distributer office | In six county Los Angeles area
| Local stock | Must maintain local stock
| History of Supply | More than 25 Years
| Fiber Type | Single Mode - 250 micron
| Fiber Type | Zero Water Peak peferred
| Mode Field Diameter | 9.2 micron preferred
| Fiber Standards Compliance | ITU-T G.652D
| Fiber Standards Compliance | G.657A1 preferred
| Cable Standards Compliance | Telcordia GR-20-CORE
| Cable Standards Compliance | ANSI/ICEA S-87-640-2005
| Cable Standards Compliance | Able to provide test verification
| Cable Design | Single Jacket Ribbon (Max 12 fibers per ribbon)
| Maximum Loss / kM @ 1310 nm | 0.35 dB / kM
| Polar Mode Dispersion (PMD) | Fiber PMD Link Design Value (LDV) 4 ≤ 0.04 ps/√km
| Polar Mode Dispersion (PMD) | Maximum Individual Fiber ≤ 0.1 ps/√km
| Polar Mode Dispersion (PMD) | Fiber LMC PMD ≤ 0.02 ps/√km
| Reel Size | 7 foot
| Single Jacket Ribbon (all dielectric) Cable Sizes | Quantity, Feet | Manufacturer | Part Number | O.D. (inches) | Feet per Reel | Cost Per Foot | Total Cost | Lead Time
| 48 Fiber | 10327.3602
| 72 Fiber | 2226.9313
| 96 Fiber | 7499.4862
| 144 Fiber | 27787.4785
| 288 Fiber | 75110.4792
| 432 Fiber | 4350.9194
| Total | 127302.6548 |  |  |  |  | Total
Single Jacket Single Armor Loose Tube Fiber Requirements |  |  | Comply (Y/N)
| Application | Placement in conduits and/or overlash
| Location of Cable Assembly | Made in the USA
| History of Supply | More than 25 Years
| Supplier or distributer office | In six county Los Angeles area
| Local stock | Must maintain local stock
| Fiber Type | Single Mode - 250 micron
| Fiber Type | Zero Water Peak peferred
| Mode Field Diameter | 9.2 micron preferred
| Fiber Standards Compliance | ITU-T G.652D
| Fiber Standards Compliance | G.657A1 preferred
| Cable Standards Compliance | Telcordia GR-20-CORE
| Cable Standards Compliance | ANSI/ICEA S-87-640-2005
| Cable Standards Compliance | Able to provide test verification
| Cable Design | Light Armor Loose Tube (Max 12 fibers per tube)
| Maximum Loss / kM @ 1310 nm | 0.35 dB / kM
| Polar Mode Dispersion (PMD) | Fiber PMD Link Design Value (LDV) 4 ≤ 0.04 ps/√km
| Polar Mode Dispersion (PMD) | Maximum Individual Fiber ≤ 0.1 ps/√km
| Polar Mode Dispersion (PMD) | Fiber LMC PMD ≤ 0.02 ps/√km
| Reel Size | 7 foot
| Single Jacket Single Armor Loose Tube Cable Sizes | Quantity, Feet | Manufacturer | Part Number | O.D. (inches) | Feet per Reel | Cost Per Foot | Total Cost | Lead Time
| 6 Fiber | 0
| 12 Fiber | 4210.2359
| 24 Fiber | 3779.4525
| 48 Fiber | 8215.4154
| 72 Fiber | 8889.0628
| 96 Fiber | 78218.8583
| 144 Fiber | 96062.4736
| 288 Fiber | 0
| Total | 199375.4985 |  |  |  |  | Total
Single Jacket Single Armor Ribbon Fiber Requirements |  |  | Comply (Y/N)
| Application | Placement in conduits and/or overlash
| Location of Cable Assembly | Made in the USA
| Supplier or distributer office | In six county Los Angeles area
| Local stock | Must maintain local stock
| History of Supply | More than 25 Years
| Fiber Type | Single Mode - 250 micron
| Fiber Type | Zero Water Peak peferred
| Mode Field Diameter | 9.2 micron preferred
| Fiber Standards Compliance | ITU-T G.652D
| Fiber Standards Compliance | G.657A1 preferred
| Cable Standards Compliance | Telcordia GR-20-CORE
| Cable Standards Compliance | ANSI/ICEA S-87-640-2005
| Cable Standards Compliance | Able to provide test verification
| Cable Design | Light Armor Ribbon (Max 12 fibers per ribbon)
| Maximum Loss / kM @ 1310 nm | 0.35 dB / kM
| Polar Mode Dispersion (PMD) | Fiber PMD Link Design Value (LDV) 4 ≤ 0.04 ps/√km
| Polar Mode Dispersion (PMD) | Maximum Individual Fiber ≤ 0.1 ps/√km
| Polar Mode Dispersion (PMD) | Fiber LMC PMD ≤ 0.02 ps/√km
| Reel Size | 7 foot
| Single Jacket Single Armor Ribbon Cable Sizes | Quantity, Feet | Manufacturer | Part Number | O.D. (inches) | Feet per Reel | Cost Per Foot | Total Cost | Lead Time
| 48 Fiber | 10327.3602
| 72 Fiber | 2226.9313
| 96 Fiber | 7499.4862
| 144 Fiber | 27787.4785
| 288 Fiber | 75110.4792
| 432 Fiber | 4350.9194
| Total | 127302.6548 |  |  |  |  | Total
Micro Cable Loose Tube (all dielectric) Fiber Requirements |  |  | Comply (Y/N)
| Application | Placement in microduct
| Location of Cable Assembly | Made in the USA
| Supplier or distributer office | In six county Los Angeles area
| Local stock | Must maintain local stock
| History of Supply | More than 15 Years
| Fiber Type | Single Mode - 250 micron
| Fiber Type | Zero Water Peak peferred
| Mode Field Diameter | 9.2 micron preferred
| Fiber Standards Compliance | ITU-T G.652D
| Fiber Standards Compliance | G.657A1 preferred
| Cable Standards Compliance | Telcordia GR-20-CORE preferred
| Cable Standards Compliance | ANSI/ICEA S-87-640-2005
| Cable Standards Compliance | Able to provide test verification
| Cable Design | Single Jacket Loose Tube (Max 12 fibers per tube)
| Maximum Loss / kM @ 1310 nm | 0.35 dB / kM
| Polar Mode Dispersion (PMD) | Fiber PMD Link Design Value (LDV) 4 ≤ 0.04 ps/√km
| Polar Mode Dispersion (PMD) | Maximum Individual Fiber ≤ 0.1 ps/√km
| Polar Mode Dispersion (PMD) | Fiber LMC PMD ≤ 0.02 ps/√km
| Reel Size | 7 foot
| Maximum Cable OD | 48F to 144F - 10.0mm
| Micro Cable Loose Tube (all dielectric) Cable Sizes | Quantity, Feet | Manufacturer | Part Number | O.D. (inches) | Feet per Reel | Cost Per Foot | Total Cost | Lead Time
| 6 Fiber | 19422.3518
| 12 Fiber | 24438.3273
| 24 Fiber | 49050.8195
| 48 Fiber | 48747.1428
| 72 Fiber | 21751.6456
| 96 Fiber | 23204.813
| 144 Fiber | 2587.4292
| Total | 189202.5292 |  |  |  |  | Total
Micro Cable Ribbon (all dielectric) Fiber Requirements |  |  | Comply (Y/N)
| Application | Placement in microduct
| Location of Cable Assembly | Made in the USA
| Supplier or distributer office | In six county Los Angeles area
| Local stock | Must maintain local stock
| History of Supply | More than 15 Years
| Fiber Type | Single Mode - 250 micron
| Fiber Type | Zero Water Peak peferred
| Mode Field Diameter | 9.2 micron preferred
| Fiber Standards Compliance | ITU-T G.652D
| Fiber Standards Compliance | G.657A1 preferred
| Cable Standards Compliance | Telcordia GR-20-CORE preferred
| Cable Standards Compliance | ANSI/ICEA S-87-640-2005
| Cable Standards Compliance | Able to provide test verification
| Cable Design | Single Jacket Loose Tube (Max 12 fibers per tube)
| Maximum Loss / kM @ 1310 nm | 0.35 dB / kM
| Polar Mode Dispersion (PMD) | Fiber PMD Link Design Value (LDV) 4 ≤ 0.04 ps/√km
| Polar Mode Dispersion (PMD) | Maximum Individual Fiber ≤ 0.1 ps/√km
| Polar Mode Dispersion (PMD) | Fiber LMC PMD ≤ 0.02 ps/√km
| Reel Size | 7 foot
| Maximum Cable OD | 48F to 144F - 10.0mm
| Micro Cable Ribbon (all dielectric) Cable Sizes | Quantity, Feet | Manufacturer | Part Number | O.D. (inches) | Feet per Reel | Cost Per Foot | Total Cost | Lead Time
| 48 Fiber | 10327.3602
| 72 Fiber | 2226.9313
| 96 Fiber | 7499.4862
| 144 Fiber | 27787.4785
| 288 Fiber | 75110.4792
| 432 Fiber | 4350.9194
| Total | 127302.6548 |  |  |  |  | Total